## Optimized Start-Stop
Optimized Start/Stop Savings Potential
Equipment | Supply Fan
Motor Size | 40 | HP
Motor Loading | 70%
Hour Reduction with Optimal Start/Stop | 2 | hrs/day
Days per Year | 250
Estimated Motor Power | 38.3657 | kW
Annual Energy Savings | 19182.8571 | kWh/yr
Energy Price | 0.14 | /kWh
Annual Cost Avoidance | 2685.6 | /yr
Annual Carbon Avoidance | 0.95914 | tonnes

## Scheduling
Equipment Scheduling Savings Potential
Equipment | AHU Fan System
Motor Size | 20 | HP
Motor Loading | 90%
Existing Operating Hours | 24 | hrs/day
Proposed Operating Hours | 10 | hrs/day
Daye per Year | 365
Estimated Motor Power | 14.92 | kW
Annual Energy Savings | 76241.2 | kWh/yr
Energy Price | 0.14 | /kWh
Annual Cost Avoidance | 10673.768
Annual Carbon Avoidance | 3.8121 | tonnes